# Electrical Compliance, Safety, and Field Policies

## Permit and Inspection Procedure

The steps the company follows on every job so no permit is skipped and no inspection is missed. Build these into the schedule, not around it, and keep approved plans and records on the job.

Confirm AHJ, the enforced NEC edition, and local amendments before design or bid: ________________________________

Pull the permit before starting and price the fee into the job: ________________________________

Schedule the rough-in inspection before insulation and drywall: ________________________________

Schedule the final inspection before energizing and turnover: ________________________________

Coordinate utility connection and service release with the sign-off: ________________________________

Self-inspect against a checklist before calling the official inspection: ________________________________

## Electrical Safety Rules (LOTO and Arc Flash)

The non-negotiable practices every electrician follows, enforced by the foreman and never bent under schedule pressure. Aligned with NFPA 70E and OSHA.

Establish an electrically safe work condition: de-energize and verify zero energy: ________________________________

Lock out and tag out before working on equipment: ________________________________

Test before touch: treat every conductor as live until metered: ________________________________

Respect arc-flash boundaries and wear rated PPE for energized tasks: ________________________________

Justify and analyze any energized work before it proceeds: ________________________________

Run a short job hazard analysis on each new task or condition: ________________________________

## Foreman Daily Field Plan

The routine that protects the labor budget. A foreman who plans the day, stages material, and runs prefab keeps the crew productive and the job on its estimated hours.

Issue a written task plan for each crew member at the start of the day: ________________________________

Confirm tomorrow's material is staged and kitted by area: ________________________________

Run the prefab program for whips, box kits, and feeds: ________________________________

Attend coordination meetings and sequence rough-in to claim routes early: ________________________________

Update percent complete versus hours weekly and flag any phase behind: ________________________________

Capture accurate timecards coded to the right job and cost code: ________________________________