## Tool Circuit Sizing
Tool Name | Nameplate Voltage (V) | Nameplate Amps (A) | Horsepower (HP) | 125% NEC Load (A) | Required Breaker Size (A) | Circuit Type (Dedicated/Shared) | Outlet Type (NEMA) | Circuit #
Table Saw | 120 | 15 | 1.75 |  |  | Dedicated | 5-20R
Dust Collector | 240 | 8 | 1.5 |  |  | Dedicated | 6-20R

## Circuit Summary
Circuit # | Breaker Size (A) | Voltage (V) | Tools Served | Wire Gauge (AWG) | GFCI Required (Y/N) | Outlet Count | Installed (Y/N) | Notes
1 | 20 | 120 | Table Saw | 12 | Y | 1
2 | 20 | 240 | Dust Collector | 12 | N | 1