## Flatness
Location | Type (High / Low) | Deviation (in) | Over Span (ft) | In Tolerance? (Y/N) | Fix (grind / sand / patch / self-level) | Done? (Y/N)
Center of living room | High | 1/4 | 10 | N | Grind
By patio door | Low | 3/16 | 6 | N | Self-level

## Moisture
Subfloor | Test Method | Date Started | Date Read | Reading / Result | Mfr Limit | Pass/Fail (you decide)
Concrete slab | ASTM F2170 RH probe |  |  |  | 75% RH
Wood subfloor | Pin meter |  |  |  | 12% MC